## 6 & 8 BCA
Plate | date | label | standard | conc | comments | slope | intercept | R^2
1 | 4/18/2018 10:34:53 PM | std BCA 1 | 2000 | 0.5765 | 0 | 0.00020645 | 0.11404 | 0.955
1 | 4/18/2018 10:34:53 PM | std BCA 2 | 1500 | 0.3942 | 0
1 | 4/18/2018 10:34:53 PM | std BCA 3 | 1000 | 0.28 | 0
1 | 4/18/2018 10:34:53 PM | std BCA 4 | 750 | 0.2522 | 0
1 | 4/18/2018 10:34:53 PM | std BCA 5 | 500 | 0.2097 | 0
1 | 4/18/2018 10:34:53 PM | std BCA 6 | 250 | 0.1563 | 0
1 | 4/18/2018 10:34:53 PM | std BCA 7 | 125 | 0.169 | 0
1 | 4/18/2018 10:34:53 PM | std BCA 8 | 25 | 0.1441 | 0
4 | 4/18/2018 11:14:17 PM | std BCA 7 | 125 | 0.1578 | 0 | 0.0001388 | 0.13257 | 0.9928
4 | 4/18/2018 11:14:17 PM | std BCA 5 | 500 | 0.1933 | 0
4 | 4/18/2018 11:14:17 PM | std BCA 4 | 750 | 0.2344 | 0
4 | 4/18/2018 11:14:17 PM | std BCA 3 | 1000 | 0.2774 | 0
4 | 4/18/2018 11:14:17 PM | std BCA 2 | 1500 | 0.3309 | 0
4 | 4/18/2018 11:14:17 PM | std BCA 1 | 2000 | 0.4171 | 0
1 | 4/19/2018 5:28:24 PM | std BCA 7 | 125 | 0.1456 | 0 | 0.00032089 | 0.11208 | 0.9984
1 | 4/19/2018 5:28:24 PM | std BCA 6 | 250 | 0.2028 | 0
1 | 4/19/2018 5:28:24 PM | std BCA 5 | 500 | 0.2833 | 0
1 | 4/19/2018 5:28:24 PM | std BCA 4 | 750 | 0.3615 | 0
1 | 4/19/2018 5:28:24 PM | std BCA 3 | 1000 | 0.4326 | 0
1 | 4/19/2018 5:28:24 PM | std BCA 2 | 1500 | 0.5846 | 0
1 | 4/19/2018 5:28:24 PM | std BCA 1 | 2000 | 0.7648 | 0
4 | 4/19/2018 6:06:44 PM | std BCA 7 | 125 | 0.1052 | 0 | 0.00021086 | 0.062509 | 0.9596
4 | 4/19/2018 6:06:44 PM | std BCA 6 | 250 | 0.1221 | 0
4 | 4/19/2018 6:06:44 PM | std BCA 5 | 500 | 0.1876 | 0
4 | 4/19/2018 6:06:44 PM | std BCA 4 | 750 | 0.2096 | 0
4 | 4/19/2018 6:06:44 PM | std BCA 3 | 1000 | 0.229 | 0
4 | 4/19/2018 6:06:44 PM | std BCA 2 | 1500 | 0.3509 | 0
4 | 4/19/2018 6:06:44 PM | std BCA 1 | 2000 | 0.5247 | 0
7 | 4/19/2018 6:18:32 PM | std BCA 1 | 2000 | 0.3404 | 0 | 9.8411e-05 | 0.15034 | 0.9851
7 | 4/19/2018 6:18:32 PM | std BCA 2 | 1500 | 0.3098 | 0
7 | 4/19/2018 6:18:32 PM | std BCA 4 | 750 | 0.2152 | 0
7 | 4/19/2018 6:18:32 PM | std BCA 5 | 500 | 0.2019 | 0
7 | 4/19/2018 6:18:32 PM | std BCA 6 | 250 | 0.1838 | 0
7 | 4/19/2018 6:18:32 PM | std BCA 7 | 125 | 0.1553 | 0
Note on C27: problem with first replicate
Note on F27: problem with first replicate
Note on E36: Author: Previos value deleted; remmeber to mark as 1 in main sheet

## 6 & 8 TAG
Plate | date | label | standard | conc | comments | reaction duration | slope | intercept | R^2
1 | 4/18/2018 10:33:30 PM | Std TAG 1 | 10 | 0.1673 | 0 |  | 0.0045611 | 0.13072
1 | 4/18/2018 10:33:30 PM | Std TAG 2 | 15 | 0.1942 | 0
1 | 4/18/2018 10:33:30 PM | Std TAG 3 | 20 | 0.2271 | 0
1 | 4/18/2018 10:33:30 PM | Std TAG 4 | 30 | 0.2721 | 0
1 | 4/18/2018 10:33:30 PM | Std TAG 5 | 40 | 0.3366 | 0
1 | 4/18/2018 10:33:30 PM | Std TAG 6 | 50 | 0.3614 | 0
1 | 4/18/2018 10:33:30 PM | Std TAG 7 | 60 | 0.4076 | 0
1 | 4/18/2018 10:33:30 PM | Std TAG 8 | 75 | 0.4692 | 0
1 | 4/18/2018 10:33:30 PM | reagent tag | 0 | 0.1413 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 1 | 10 | 0.172 | 0 |  | 0.0052651 | 0.11351
4 | 4/18/2018 11:12:55 PM | Std TAG 2 | 15 | 0.1849 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 3 | 20 | 0.2311 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 4 | 30 | 0.2736 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 5 | 40 | 0.3162 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 6 | 50 | 0.4048 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 7 | 60 | 0.4544 | 0
4 | 4/18/2018 11:12:55 PM | Std TAG 8 | 75 | 0.51 | 0
4 | 4/18/2018 11:12:55 PM | reagent tag | 0 | 0.1429 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 1 | 10 | 0.1751 | 0 |  | 0.0050247 | 0.13215
7 | 4/18/2018 11:17:11 PM | Std TAG 2 | 15 | 0.1915 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 3 | 20 | 0.244 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 4 | 30 | 0.3118 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 5 | 40 | 0.3103 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 6 | 50 | 0.4109 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 7 | 60 | 0.4517 | 0
7 | 4/18/2018 11:17:11 PM | Std TAG 8 | 75 | 0.4951 | 0
7 | 4/18/2018 11:17:11 PM | reagent tag | 0 | 0.1449 | 0
1 | 4/19/2018 5:27:02 PM | Std TAG 1 | 10 | 0.1683 | 0 |  | 0.0047516 | 0.12374
|  | Std TAG 2 | 15 | 0.1976 | 0
|  | Std TAG 3 | 20 | 0.2177 | 0
|  | Std TAG 4 | 30 | 0.2658 | 0
|  | Std TAG 5 | 40 | 0.3162 | 0
|  | Std TAG 6 | 50 | 0.3645 | 0
|  | Std TAG 7 | 60 | 0.4058 | 0
|  | Std TAG 8 | 75 | 0.4795 | 0
4 | 4/19/2018 6:05:21 PM | Std TAG 1 | 10 | 0.1734 | 0 |  | 0.0046267 | 0.13404
|  | Std TAG 2 | 15 | 0.2057 | 0
|  | Std TAG 3 | 20 | 0.2273 | 0
|  | Std TAG 4 | 30 | 0.2703 | 0
|  | Std TAG 5 | 40 | 0.329 | 0
|  | Std TAG 6 | 50 | 0.3666 | 0
|  | Std TAG 7 | 60 | 0.4123 | 0
|  | Std TAG 8 | 75 | 0.4757 | 0
7 | 4/19/2018 6:17:10 PM | Std TAG 1 | 10 | 0.1885 | 0 |  | 0.0049061 | 0.12204
|  | Std TAG 2 | 15 | 0.1927 | 0
|  | Std TAG 4 | 30 | 0.2491 | 1
|  | Std TAG 6 | 50 | 0.3539 | 0
|  | Std TAG 7 | 60 | 0.4355 | 0

## 10 BCA
Plate | date | label | standard | conc | comments | reaction duration | slope | intercept | R^2
B | '7/13/2018 9:21:10 PM | std BCA 1 | 2000 | 0.0985 | 0 | NA | 3.1928e-06 | 0.090706
B | '7/13/2018 9:21:10 PM | std BCA 2 | 1500 | 0.0935 | 0
B | '7/13/2018 9:21:10 PM | std BCA 3 | 1000 | 0.0948 | 0
B | '7/13/2018 9:21:10 PM | std BCA 4 | 750 | 0.0931 | 0
B | '7/13/2018 9:21:10 PM | std BCA 5 | 500 | 0.0922 | 0
B | '7/13/2018 9:21:10 PM | std BCA 6 | 250 | 0.0896 | 0
B | '7/13/2018 9:21:10 PM | std BCA 7 | 125 | 0.0895 | 0
B | '7/13/2018 9:21:10 PM | reagent bca | 0 | 0.094 | 0
B | '7/13/2018 9:21:10 PM | std BCA 1 | 2000 | 0.9503 | 0 | 70 | 0.00041106 | 0.11143
B | '7/13/2018 9:21:10 PM | std BCA 2 | 1500 | 0.6878 | 0
B | '7/13/2018 9:21:10 PM | std BCA 3 | 1000 | 0.5296 | 0
B | '7/13/2018 9:21:10 PM | std BCA 4 | 750 | 0.43 | 0
B | '7/13/2018 9:21:10 PM | std BCA 5 | 500 | 0.3443 | 0
B | '7/13/2018 9:21:10 PM | std BCA 6 | 250 | 0.2291 | 0
B | '7/13/2018 9:21:10 PM | std BCA 7 | 125 | 0.1199 | 1
B | '7/13/2018 9:21:10 PM | reagent bca | 0 | 0.1182 | 0
B | '7/13/2018 10:07:51 PM | std BCA 1 | 2000 | 0.4051 | 0 | 37 | 0.00015543 | 0.10415
B | '7/13/2018 10:07:51 PM | std BCA 2 | 1500 | 0.3418 | 0
B | '7/13/2018 10:07:51 PM | std BCA 3 | 1000 | 0.2609 | 0
B | '7/13/2018 10:07:51 PM | std BCA 4 | 750 | 0.2283 | 0
B | '7/13/2018 10:07:51 PM | std BCA 5 | 500 | 0.1981 | 0
B | '7/13/2018 10:07:51 PM | std BCA 6 | 250 | 0.1432 | 0
B | '7/13/2018 10:07:51 PM | std BCA 7 | 125 | 0.1068 | 0
B | '7/13/2018 10:07:51 PM | reagent bca | 0 | 0.101 | 0
B | '7/13/2018 10:07:51 PM | std BCA 1 | 2000 | 1.0897 | 0 | 120 | 0.00047551 | 0.1241
B | '7/13/2018 10:07:51 PM | std BCA 2 | 1500 | 0.7921 | 0
B | '7/13/2018 10:07:51 PM | std BCA 3 | 1000 | 0.6086 | 0
B | '7/13/2018 10:07:51 PM | std BCA 4 | 750 | 0.4921 | 0
B | '7/13/2018 10:07:51 PM | std BCA 5 | 500 | 0.4111 | 0
B | '7/13/2018 10:07:51 PM | std BCA 6 | 250 | 0.258 | 0
B | '7/13/2018 10:07:51 PM | std BCA 7 | 125 | 0.1264 | 1
B | '7/13/2018 10:07:51 PM | reagent bca | 0 | 0.1273 | 0
D | '7/13/2018 9:53:17 PM | std BCA 1 | 2000 | 0.3086 | 0 | 33 | 9.9483e-05 | 0.11386
D | '7/13/2018 9:53:17 PM | std BCA 2 | 1500 | 0.2551 | 0
D | '7/13/2018 9:53:17 PM | std BCA 3 | 1000 | 0.2205 | 0
D | '7/13/2018 9:53:17 PM | std BCA 4 | 750 | 0.1987 | 0
D | '7/13/2018 9:53:17 PM | std BCA 5 | 500 | 0.1749 | 0
D | '7/13/2018 9:53:17 PM | std BCA 6 | 250 | 0.1395 | 0
D | '7/13/2018 9:53:17 PM | std BCA 7 | 125 | 0.1243 | 0
D | '7/13/2018 9:53:17 PM | reagent bca | 0 | 0.0986 | 0
2LS | 7/18/2018 9:39:18 PM | std BCA 1 | 2000 | 0.6979 | 0 | 75 | 0.00029318 | 0.1314
|  | std BCA 2 | 1500 | 0.5759 | 0
|  | std BCA 3 | 1000 | 0.4425 | 0
|  | std BCA 4 | 750 | 0.3533 | 0
|  | std BCA 5 | 500 | 0.3057 | 0
|  | std BCA 6 | 250 | 0.2052 | 0
|  | std BCA 7 | 125 | 0.1616 | 0
|  | reagent bca | 0 | 0.1048 | 0
|  | BCA D | 1005.5367 | 0.4262 | 1
4LS | 7/18/2018 9:18:35 PM | std BCA 1 | 2000 | 0.6114 | 0 | 63 | 0.00025302 | 0.12142
|  | std BCA 2 | 1500 | 0.506 | 0
|  | std BCA 3 | 1000 | 0.384 | 0
|  | std BCA 4 | 750 | 0.3188 | 0
|  | std BCA 5 | 500 | 0.2721 | 0
|  | std BCA 6 | 250 | 0.1927 | 0
|  | std BCA 7 | 125 | 0.1147 | 0
|  | BCA D | 1077.2953 | 0.394
2 | 7/18/2018 8:49:16 PM | std BCA 1 | 2000 | 0.9315 | 0 | 120 | 0.00041241 | 0.1438
|  | std BCA 2 | 1500 | 0.7818 | 0
|  | std BCA 3 | 1000 | 0.5855 | 0
|  | std BCA 4 | 750 | 0.4639 | 0
|  | std BCA 5 | 500 | 0.3667 | 0
|  | std BCA 6 | 250 | 0.2469 | 0
|  | std BCA 7 | 125 | 0.1908 | 0
|  | reagent bca | 0 | 0.1093 | 0
|  | BCA D | 972.578 | 0.5449
4 | 7/18/2018 9:14:45 PM | std BCA 1 | 2000 | 0.9973 | 0 | 144 | 0.00044635 | 0.15425
|  | std BCA 2 | 1500 | 0.8509 | 0
|  | std BCA 3 | 1000 | 0.6331 | 0
|  | std BCA 4 | 750 | 0.5042 | 0
|  | std BCA 5 | 500 | 0.409 | 0
|  | std BCA 6 | 250 | 0.2698 | 0
|  | std BCA 7 | 125 | 0.1937 | 0
|  | reagent bca | 0 | 0.1099 | 0
|  | BCA D | 909.7095 | 0.5603
Note on A2: new bca at 21:30
Note on A12: old bca, A>H, g empty at 20:10
Note on A21: new bca at 21:30
Note on A30: old bca, A>H, g empty at 20:10
Note on A39: new bca, A>H at 21:20
Note on C48: All stds and the BCA D [same as B12] added at 8:24pm
Note on C56: Old BCA standard of unknown concentration
Note on D56: predicted
Note on C58: All stds and the BCA D [same as B12] added at 8:15pm
Note on C65: Old BCA standard of unknown concentration
Note on D65: predicted
Note on C67: All stds and the BCA D [same as B12] added at 6:50pm
Note on C75: Old BCA standard of unknown concentration
Note on D75: predicted
Note on C77: All stds and the BCA D added at 6:50pm
Note on C85: Old BCA standard of unknown concentration
Note on D85: predicted

## 10 TAG
Plate | date | label | standard | conc | comments | reaction duration | slope | intercept | R^2
B | '7/13/2018 9:19:47 PM | Std TAG 1 | 10 | 0.1947 | 0 | 30 | 0.0045223 | 0.16086
B | '7/13/2018 9:19:47 PM | Std TAG 2 | 15 | 0.2303 | 0
B | '7/13/2018 9:19:47 PM | Std TAG 3 | 20 | 0.2523 | 0
B | '7/13/2018 9:19:47 PM | Std TAG 4 | 30 | 0.3042 | 0
B | '7/13/2018 9:19:47 PM | Std TAG 5 | 40 | 0.3499 | 0
B | '7/13/2018 9:19:47 PM | Std TAG 6 | 50 | 0.3877 | 0
B | '7/13/2018 9:19:47 PM | Std TAG 7 | 60 | 0.4283 | 0
B | '7/13/2018 9:19:47 PM | Std TAG 8 | 75 | 0.4962 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 1 | 10 | 0.1828 | 0 | 76 | 0.0043885 | 0.14246
B | '7/13/2018 10:06:29 PM | Std TAG 2 | 15 | 0.2074 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 3 | 20 | 0.2293 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 4 | 30 | 0.2769 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 5 | 40 | 0.3223 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 6 | 50 | 0.3667 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 7 | 60 | 0.4016 | 0
B | '7/13/2018 10:06:29 PM | Std TAG 8 | 75 | 0.4692 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 1 | 10 | 0.212 | 0 | 30 | 0.0042878 | 0.16646
D | '7/13/2018 9:51:55 PM | Std TAG 2 | 15 | 0.2326 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 3 | 20 | 0.244 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 4 | 30 | 0.2906 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 5 | 40 | 0.3456 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 6 | 50 | 0.3861 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 7 | 60 | 0.4219 | 0
D | '7/13/2018 9:51:55 PM | Std TAG 8 | 75 | 0.4852 | 0
D | '7/13/2018 9:51:55 PM | reagent tag | 0 | 0.1627 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 1 | 10 | 0.1982 | 0 |  | 0.0038045
2LS | 7/18/2018 9:37:56 PM | Std TAG 2 | 15 | 0.2099 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 3 | 20 | 0.2386 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 4 | 30 | 0.2656 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 5 | 40 | 0.314 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 6 | 50 | 0.3518 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 7 | 60 | 0.3677 | 0
2LS | 7/18/2018 9:37:56 PM | Std TAG 8 | 75 | 0.4476 | 0
2LS | 7/18/2018 9:37:56 PM | reagent tag | 0 | 0.1512 | 0
2LS | 7/18/2018 9:37:56 PM | TAG 2x |  | 0.227 | 1
4LS | 7/18/2018 9:17:13 PM | Std TAG 1 | 10 | 0.1927 | 0 |  | 0.0043108
4LS | 7/18/2018 9:17:13 PM | Std TAG 2 | 15 | 0.2177 | 0
4LS | 7/18/2018 9:17:13 PM | Std TAG 3 | 20 | 0.2377 | 0
4LS | 7/18/2018 9:17:13 PM | Std TAG 4 | 30 | 0.2687 | 0
4LS | 7/18/2018 9:17:13 PM | Std TAG 5 | 40 | 0.3266 | 0
4LS | 7/18/2018 9:17:13 PM | Std TAG 6 | 50 | 0.3718 | 0
4LS | 7/18/2018 9:17:13 PM | Std TAG 7 | 60 | 0.3978 | 0
4LS | 7/18/2018 9:17:13 PM | Std TAG 8 | 75 | 0.4811 | 0
4LS | 7/18/2018 9:17:13 PM | reagent tag | 0 | 0.1541 | 0
4LS | 7/18/2018 9:17:13 PM | TAG 2x |  | 0.2105 | 1
2 | 7/18/2018 8:47:53 PM | Std TAG 1 | 10 | 0.1523 | 1 |  | NA
|  | Std TAG 2 | 15 | 0.1468 | 1
|  | Std TAG 3 | 20 | 0.1489 | 1
|  | Std TAG 4 | 30 | 0.1436 | 1
|  | Std TAG 5 | 40 | 0.1403 | 1
|  | Std TAG 6 | 50 | 0.1393 | 1
|  | Std TAG 7 | 60 | 0.1376 | 1
|  | Std TAG 8 | 75 | 0.1383 | 1
|  | reagent tag | 0 | 0.1479 | 1
|  | TAG 2x |  | 0.2176 | 1
4 | 7/18/2018 9:13:23 PM | Std TAG 1 | 10 | 0.1779 | 0 |  | 0.004196
|  | Std TAG 2 | 15 | 0.2045 | 0
|  | Std TAG 3 | 20 | 0.2185 | 0
|  | Std TAG 4 | 30 | 0.258 | 0
|  | Std TAG 5 | 40 | 0.3054 | 0
|  | Std TAG 6 | 50 | 0.3468 | 0
|  | Std TAG 7 | 60 | 0.3931 | 0
|  | Std TAG 8 | 75 | 0.4514 | 0
|  | reagent tag | 0 | 0.1399 | 0
Note on C2: new tag, 1>8, at 20:50
Note on C11: new tag, 1>8, at 20:50
Note on C20: new tag, 1>8 at 21:20
Note on C30: Added at unknown time before 8:24pm
Note on C39: Added at 7:25pm Old TAG standard of unknown concentration
Note on C41: all stds added at 8:15pm
Note on C50: Added at 8:00pm Old TAG standard of unknown concentration
Note on C52: All stds added at 6:50pm [probably forgot]
Note on C61: Added at 6:28pm Old TAG standard of unknown concentration
Note on C63: All stds added at 6:50pm

## BCA Slopes
reaction duration | slope | plate | column | lot | date | time
0 | 3.1928e-06 | B | 11 | 10 | 2018-07-13 | 21:21
33 | 9.9483e-05 | D | 12 | 10 | 2018-07-13 | 21:53
37 | 0.00015543 | B | 11 | 10 | 2018-07-13 | 22:08
70 | 0.00041106 | B | 12 | 10 | 2018-07-13 | 21:21
120 | 0.00047551 | B | 12 | 10 | 2018-07-13 | 22:08
63 | 0.00025302 | 4LS | 11 | 10 | 2018-07-18 | 21:19
75 | 0.00029318 | 2LS | 11 | 10 | 2018-07-18 | 21:39
120 | 0.00041241 | 2 | 11 | 10 | 2018-07-18 | 20:49
144 | 0.00044635 | 4 | 11 | 10 | 2018-07-18 | 21:15
conclusions
the x-axis represents the reaction duration after the addition of the standards to the standard wells
the y-axis plots the different slopes of the individual standard curves from plates handles on the same date
the longer the reaction durations (after the addition of the standard) the steeper the slopes get of the respective standard curves: the color gets darker as time goes on
the change in slopes of the standard curves follows a sigmoid curve: color stops getting darker at around 2hours after adding the standard
it would be best to take BCA readings of only those plates whose standard curves had slopes in the plateau region: whose color had stopped getting darker, ie those kept for 2hours at RT
the slopes of the tag std curves don't change: their color develops fully in an instant
The reader takes 89 seconds to read 96 wells
The first BCA reading is taken 95 seconds after the reader creates a new sheet
Note on D4: same plate as read first at 9:21:10 PM
Note on D6: same plate as read first at 9:53:17 PM